## Sheet1 (3)
The intent of this aviation facility security assessment is to establish a baseline for developing and justifying security countermeasures that prevent the unauthorized use of aircraft, protect the health and welfare of tenants, users, and employees, safeguard the facility from degradation, and provide organizational leadership with the information needed to set project priorities and budget submissions. Each aviation facility and situation will be unique, requiring its own assessment and mitigation processes.
A. REVIEW & UPDATE FREQUENCY
Each Aviation Facility Security assessment will be reviewed and updated at least every 5 years, or sooner if there are major changes to the facility, such as new tenants, major construction, or other significant modifications. (opm-71)
B. ASSET IDENTIFICATION
The following critical assets at [Facility Name] have been identified as requiring protection to safeguard personnel & aircraft, and prevent disruption of essential services. Note: Assets marked as "N/A" help ensure all assets have been considered. | Personnel: |  | Facility staff, contractors, tenants, pilots, visitors, etc.
| Aircraft: |  | Owned, leased, transient, etc.
| Aviation Equipment: |  | Maintenance equipment, fueling systems, ground support, etc. or N/A
| Structures: |  | Hangars, ready rooms, pilot lounges, etc. or N/A
| Site Infrastructure: |  | Runways, taxiways, control towers, communications, batch mixing plants, etc. or N/A
| IT Systems: |  | Flight data, maintenance records, operational plans, network systems, etc. or N/A
| Mission-Critical Functions: |  | Activities that, if disrupted, would affect safety, mission performance, or continuity of operations.
C. DEFINITIONS (for the purposes of this assessment, the following definitions apply)
Threats | A potential cause of an unwanted incident that may result in harm to people, damage to assets, disruption of operations, or compromise of security within the aviation facility. Threats can be intentional (e.g., terrorism, sabotage) or unintentional (e.g., human error, natural disasters), and may originate from internal or external sources.
Vulnerabilities | A weakness or gap in security measures, procedures, infrastructure, or personnel that could be exploited by a threat actor to gain unauthorized access, cause harm, disrupt operations, or compromise the safety and security of the aviation facility.
Consequences | The potential impact on life, property, mission continuity, or operations if a threat successfully exploits an aviation facility vulnerability.
Existing Countermeasures | The current security actions, procedures, or physical/technical measures already in place at the aviation facility that reduce or mitigate threats and vulnerabilities.
Potential Countermeasures | The feasible security actions, procedures, or physical/technical measures identified during the assessment process that can reduce or mitigate specific threats and vulnerabilities based on the facility’s mission, operations, and available resources. They represent realistic options that can be implemented to enhance protection. Note: For examples of countermeasures reference TSA Security Guidelines for General Aviation Airport Operators and Users and The Risk Management Process, An Interagency Security Committee Standard.
Constraints | Factors that limit or prevent the implementation of potential countermeasures needed to achieve an appropriate level of protection. These may include budget limitations, regulatory restrictions, operational requirements, infrastructure limitations, staffing shortages, or technological challenges.
Recommendation | Risk Acceptance: The informed decision to tolerate a specific security risk as-is without further mitigation. Risk acceptance typically occurs when the cost, feasibility, or impact of additional countermeasures outweighs the expected benefit of further risk reduction.
Mitigation Planning: Identify, prioritize and commit to implementing potential countermeasures.
D. INSTRUCTIONS
1. Work through each functional area (E1-E9) listed in section E. Security Assessment, one at a time.
2. For each section (E1–E9), identify specific threats that could impact the security or operation of the aviation facility. Threats with substantially similar vulnerabilities, impacts, or required countermeasures may be grouped together in a single row. Distinct threats with unique characteristics should be assessed individually.
3. In the vulnerability column, explain any weaknesses, gaps, or conditions that make the facility susceptible to the listed threat. Vulnerabilities should directly relate to the threat(s) in the same row.
4. For each identified threat and associated vulnerability, describe the consequence(s) if the undesirable event were to occur. The following areas should be addressed, as applicable. Safety: Impact to life and health, including injuries or loss of life. Mission Interruption: Impact on the facility’s ability to continue essential aviation operations. Financial: Expected monetary loss, including direct and indirect costs. Compliance: Impact on internal policies, procedures, and required aviation programs. Regulatory: Impact involving external regulatory bodies (e.g., FAA, TSA), including potential violations, penalties, or required corrective actions.
5. For each threat and vulnerability pairing, list the current measures already in place that reduce or mitigate the risk.
6. For each identified threat, respond to the question: “Is the existing level of protection appropriate based on the identified Threat, Vulnerability, and Consequence?” Yes — Select this option if the current countermeasures adequately address the identified threat and vulnerability, and the expected consequence is acceptably mitigated. A “Yes” response indicates that the existing level of protection is sufficient at this time. No — Select this option if the current level of protection is not adequate, if vulnerabilities remain unaddressed, or if the potential consequence warrants additional mitigation. A “No” response indicates that further action is required to implement or achieve the appropriate countermeasure(s) identified.
7. If the existing countermeasures do not provide an appropriate level of protection based on the identified threat, vulnerability, and consequence, you must identify the potential countermeasures that would bring the protection level to an acceptable standard. List these potential countermeasures in the designated column, ensuring they directly address the weaknesses or gaps noted in the vulnerability assessment.
8. Describe any constraints that may reduce the effectiveness of existing countermeasures or limit the ability to implement potential countermeasures.
9. Use brief but specific descriptions for each column. Avoid vague wording such as “lack of security”; instead specify what is missing or inadequate. If additional detail is needed, attach supporting documentation. Include diagrams, maps, photos, or SOP references if it enhances understanding.
10. There is no limit to the number of threats identified per functional area. Add rows to ensure each threat is captured individually. If a threat applies to multiple functional areas, document it separately under each relevant section.
11. Review for Accuracy and Completeness. Ensure all functional areas (E1–E9) have been assessed. Confirm that countermeasures and constraints accurately reflect current facility conditions.
12. Upon completion, submit the assessment to the Accountable Manager to review all identified threats and mitigation recommendations. The Accountable Manager must acknowledge risk acceptance or commitment to further mitigation planning in the signature section.
E. SECURITY ASSESSMENT
E1. ACCESS CONTROL
The security measures to ensure that only authorized personnel, visitors, aircraft, and vehicles can enter or move within a facility.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to ACCESS CONTROL that could target the assets identified in section B. e.g. -unauthorized access -tailgating/piggybacking -access system malfunction -credential forgery -human error- (such as leaving gate/door unsecure or not verifying ID/credentials) -procedural non compliance/failure to follow procedures | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -unsecured entry points -deficient access control system -lack of backup for power loss -insufficient training |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to ACCESS CONTROL. e.g. -security checkpoints -PIN code keypads -key card readers -access lists/records -visitor control -after hours procedures | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical -funding -short term occupancy -lease limitations | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E2. PHYSICAL SECURITY
E2a: Site/Airport Security
a. Site/Airport Security: The physical and procedural safeguards at the property or ground perimeter to prevent or mitigate threats before they reach buildings, people, or aircraft.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to SITE SECURITY that could target the assets identified in section B. e.g. -theft -vandalism -sabotage -intrusion -severe weather -wildlife -human error | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -lack of or inadequate fencing -shared property -lack of signage -inadequate lighting around perimeter -drainage ditches/culverts - inadequate processes/lack of training |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to SITE SECURITY. e.g. -perimeter fencing -gates & locks -berms & barriers -security lighting -signage | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical site -funding -short term occupancy -lease limitations | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E2b: Structure Security
b. Structure Security: The physical and procedural controls to buildings and related structures to protect its occupants, assets, and information from threats such as violence, terrorism, theft, or natural disasters.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to STRUCTURE SECURITY that could target the assets identified in section B. e.g. -structural integrity/degradation -earthquakes -unauthorized entry -breech of secure storage/theft -vandalism -human error | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -inadequate locks -shared structure -lack of or inadequate alarms -lack of security personnel -inadequate processes/lack of training |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to STRUCTURE SECURITY. e.g. -door locks -alarms -lighting -security personnel | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical site -funding -short term occupancy -lease limitations | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E2c: Aircraft Security
c. Aircraft Security: The application of physical safeguards and procedural measures to protect aircraft from threats such as vandalism , terrorism, theft, or natural disasters
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to AIRCRAFT SECURITY that could target the assets identified in section B. e.g. -tampering/vandalism -theft -fuel contamination -drones -weather -wildlife | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -inadequate storage, exposure to elements -poor separation from other aircraft -isolated, no night surveillance -inadequate processes/lack of training |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to AIRCRAFT SECURITY. e.g. -dual locking mechanism, -contractors responsibilities, -wildlife control/mitigation. -vehicle accidents. | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical site -funding -short term occupancy -lease limitations |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E3. MONITORING & SURVEILANCE
The use of physical, electronic, and procedural measures to observe and track security systems, areas, or individuals in order to detect, deter, and respond to unauthorized activity, threats, or emergencies.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to MONITORING & SURVEILANCE that could target the assets identified in section B. e.g. -tampering/vandalism -theft -evasion of cameras -suspicious pre-operational surveillance-gathering information about blind spots and patrol schedules. | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -inadequate or lack of security surveillance -low resolution, or lighting -blind spots -isolated, no night surveillance -environmental- fog, dust, insects, glare -camera placement/location -inadequate processes/lack of training |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to MONITORING & SURVEILANCE. e.g. -adequate cameras adequate staff to monitor/review -equipment maintenance -motion detection -training and SOPs | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical site -funding -short term occupancy -lease limitations -connectivity -staffing |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E4. COMMUNICATION
The methods, systems, and procedures an organization uses to exchange information among facility personnel, security personnel, management, stakeholders, and relevant agencies to ensure that threats, vulnerabilities, incidents, and recommendations are accurately reported, understood, and acted upon.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to COMMUNICATION that could target the assets identified in section B. e.g. -radio failure -aging or poorly maintained cables, connectors -radio frequency interference -power outages -rodents or wildlife -improper use of radios -no redundancy -dead zones | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -no backup communication system -no SOPs -dead zones -lack of process or training -compromised Wi-Fi |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to COMMUNICATION. e.g. -telephone # -cell phones -radios -interoperable equipment w/ -other agencies -internet -redundant & backup -communication capabilities | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -historical site -funding -short term occupancy -lease limitations -network availability |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E5. PERSONNEL SECURITY
The policies, procedures, and controls used to ensure that individuals with access to federal facilities, operations, or sensitive areas are trustworthy, properly vetted, and aware of their security responsibilities, thereby reducing the risk of insider threats or unauthorized access.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to PERSONNEL SECURITY that could target the assets identified in section B. e.g. -Unauthorized personnel access -negligent staff -malicious actions | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -lack of monitoring -poor enforcement -staff unaware of protocols -failure to follow SOP's -contractors and visitors |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to PERSONNEL SECURITY. e.g. -background checks -ID badges -airport clearances -visitor identification -security training | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -high turnover -regulatory -budget |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E6. PARKING/VEHICLE SECURITY
The measures and procedures used to control access, monitor, and protect parking areas and vehicles to ensure the safety of personnel, visitors, and facility assets.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to VEHICLE/PARKING SECURITY that could target the assets identified in section B. e.g. -vehicle containing hazmat/explosives - unauthorized vehicle breach -vandalism, theft -vehicle/aircraft collision -unattended/abandoned vehicles | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -lack of vehicle screening -lack of training or processes -inadequate surveillance -lack of vehicle identification -tight parking area, no driving lanes/areas identified. |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to VEHICLE/PARKING SECURITY. e.g. -designated parking -vehicle identification -use of parking passes -traffic management | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -site limitations -structural limits -funding -high traffic area |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
[8 empty] | FALSE | By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E7. Operational Controls
Operational controls are the day-to-day procedures, behaviors, and administrative measures used to manage and enforce security at an aviation facility. They are non-physical controls that ensure personnel follow established security practices, respond appropriately to threats, and maintain the overall security posture of the facility. (e.g. Training, procedures, security culture)
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to OPERATIONAL CONTROLS that could target the assets identified in section B. e.g. -human error -training and competency gaps -procedural weaknesses -outdated SOPs -management oversight failures -communication breakdowns -environmental /operational disruptions | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -no defined processes -ambiguous instructions -temporary/high turnover staff -inconsistent on-boarding -lack of supervision or low staffing at night or on weekends -lack of coordination between departments. |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to OPERATIONAL CONTROLS. e.g. -role specific checklists -routine audits/reviews -initial & refresher training -clear disciplinary actions -increased staffing during high volume -cross-department coordination briefings -shift turnover checklists | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -staffing issues -budget -facility layout -regulatory -conflicting operational requirements |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E8. Emergency Response Capability
The ability of an aviation facility to detect, assess, and respond effectively to emergency situations—including security incidents, aircraft emergencies, fires, medical events, hazardous materials releases, or natural disasters—in order to protect life, property, aircraft, and critical infrastructure.
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List the credible threats related to EMERGENCY RESPONSE CAPABILITIES that could target the assets identified in section B. e.g. -communication failures during emergency -personnel unavailability -inadequate training -equipment failure -environmental hazards -procedural weaknesses | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. e.g. -dead zones, inadequate equipment/connectivity -low staffing at night/weekends -high turnover -no recurrent drills or scenario based training. -outdated or poorly maintained equipment -blocked access routes, lack of weather contingency plans -outdated emergency plan |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist, specific to EMERGENCY RESPONSE CAPABILITIES. e.g. -installed radio boosters -Adjusted staffing -audits conducted -drills conducted -training with other departments conducted. -emergency response equipment is tested and maintained | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. e.g. -regulatory/policy -resource -physical/structural -environmental -operational |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
E9. ADDITIONAL SECURITY REQUIREMENTS SPECIFIC TO FACILITY
Threats | Vulnerabilities |  | Consequences | Existing Countermeasures | Is the existing level of protection appropriate based on identified Threats, Vulnerability and Consequence? | Potential Countermeasures | Constraints | Recommendation (approving signatory to complete)
List any additional credible threats that could target the assets identified in section B. | List the weak points in security measures, procedures, infrastructure, or personnel that threats could exploit. |  | Describe the impact if the exploitation occurs. -Safety -Mission Interruption -Financial -Compliance -Regulatory | Describe the security measures that currently exist. | yes/no | If no, identify improvements in infrastructure, technology, procedures, or staffing to support the ideal level of protection. | Describe what prevents achieving ideal protection. |  | By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
By signing this assessment, the Accountable Manager acknowledges and accepts the existing countermeasures and associated risk as-is. Supporting rationale is to be provided below.
By signing this assessment, the Accountable Manager commits to implementing additional measures through mitigation planning. Supporting details are to be provided below.
Supporting rationale/details:
F. APPROVING SIGNATURE
By signing below, the accountable manager confirms that they: • Have reviewed the findings of this Aviation Facility Security Assessment. • Commit to addressing risks that require further mitigation through the facility’s mitigation planning and risk management processes. • Acknowledge that some risks may be accepted as-is due to operational needs, resource limitations, or the effectiveness of existing controls. • Will document the rationale and justification for any risks that are accepted without additional mitigation.
Name |  | Title |  |  |  | Signature & Date